## Quote Sheet
22711
[14 empty] | ACT 2-2 DD | 1 | 1 | 2 | 16
[14 empty] | ACT 2-2 H | 1 | 1 | 2 | 16
[13 empty] | 1000 | ACT 2-4 | 1 | 1 | 4 | 32
[13 empty] | 2000 | ACT 3-6 | 1 | 1 | 6 | 48
Date | [12 empty] | 3000 | ACT 2-8 | 1 | 1 | 8 | 64
[13 empty] | 4000 | ACT 2-12 | 1 | 1 | 12 | 96
[13 empty] | 5800 | ACT 3-12 | 1 | 1 | 12 | 96
Proposal Number |  |  | Customer | [9 empty] | 7800 | ACT 2-16 | 1 | 2 | 16 | 128
[13 empty] | 8600 | ACT 4-16 | 2 | 1 | 16 | 128
[13 empty] | 10400 | ACT 3-18 | 2 | 1 | 18 | 144
Application | [12 empty] | 12000 | ACT 5-20 | 2 | 1 | 20 | 160
[13 empty] | 14000 | ACT 2-24 | 2 | 3 | 24 | 192
[13 empty] | 16000 | ACT 3-24 | 2 | 2 | 24 | 192
Required Airflow |  |  | 3048 | [9 empty] | 18000 | ACT 4-32 | 2 | 2 | 32 | 256
[13 empty] | 20000 | ACT 3-36 | 2 | 3 | 36 | 288
Proposed Equipment |  |  | ACT 2-8 |  |  |  |  | Price | 8466 |  |  |  |  | ACT 5-40 | 2 | 2 | 40 | 320
· New 8 cartridge downflow dust collector | [13 empty] | ACT 3-48 | 2 | 4 | 48 | 384
· Holds 8 cartridge filters totaling 2,032 sq ft of filter media | [12 empty] | Yes | ACT 4-48 | 2 | 3 | 48 | 384
· ACT Nano-Elite, flame-retardant, Nano-Fiber media with industry best Merv 15 efficiency | [12 empty] | No | ACT 3-54 | 2 | 3 | 54 | 432
· reverse pulse filter cleaning system | [13 empty] | ACT 5-60 | 3 | 3 | 60 | 480
· pulse control timer board with built-in digital pressure gage | [13 empty] | ACT 4-64 | 3 | 4 | 64 | 512
· Goyen diaphragm and solenoid valves | [10 empty] | Selection | # |  | ACT 3-72 | 3 | 5 | 72 | 576
· Drum lid | [10 empty] | ACT 2-8 | 1 |  | ACT 4-80 | 3 | 5 | 80 | 640
· Quick lock, easy access door | [11 empty] | FALSE |  | ACT 5-80 | 3 | 4 | 80 | 640
· Heavy duty 7 and 10 gage construction | [11 empty] | 2 |  | ACT 4-96 | 3 | 6 | 96 | 768
· 5 year manufactures materials and craftsmanship warranty | [13 empty] | ACT 5-100 | 3 | 5 | 100 | 800
· Made in the USA | [13 empty] | ACT 4-112 | 3 | 7 | 112 | 896
[14 empty] | ACT 4-128 | 3 | 8 | 128 | 1024
Accessories
| Filter Options |  | ACT Nano-Elite, flame-retardant, Nano-Fiber media with industry best Merv 15 efficiency | [5 empty] | 64 |  |  | Filter Upgrade | TRUE
| Fan | TCBI 30 | 30HP motor with direct drive, top mount fan |  |  |  | 10,400 CFM @ 12" |  | 4125 |  |  | fan | TRUE |  | BDD 8 |  | 8" | N/A | DCS-6
| Silencer |  | Silencer for TCBI 30 | [5 empty] | 985 |  |  | silencer | TRUE |  | BDD 10 |  | 10" | TCBI 3 | DCS-8
| Damper |  | Damper for TCBI 30, opposed blade | [5 empty] | 740 |  |  | damper | TRUE |  | BDD 12 |  | 11" | TCBI 5 | DCS-10
| Abrasive Inlet Plenum |  | Each module lined for abrasion resistance | [8 empty] | Abrasive inlet plenum | FALSE |  | BDD 14 |  | 12" | TCBI 7.5 | DCS-12
| Hepa After-Filter |  | Hepa after filter plenum for up to 6,000 CFM includes Hepa filter (transitions not included) | [8 empty] | Hepa After-Filter | FALSE |  | BDD 16 |  | 13" | TCBI 10
| Slide Gate |  | 1 Slide gate per hopper |  |  | 1 Slide gate for each hopper | [5 empty] | Slide Gate | FALSE |  | BDD 17 |  | 14" | TCBI 15
| Back Draft Damper |  | BDD 16 | 16" back draft damper | [7 empty] | Back Draft Damper | FALSE |  | BDD 18 |  | 15" | TCBI 20
| Sprinkler Coupler |  | 1 Sprinkler coupler for each module | [5 empty] | 50 |  |  | Sprinkler Coupler | TRUE |  | BDD 20 |  | 16" | TCBI 25
| In-line Spark Trap |  | 16" | In-line spark trap with access door |  |  |  |  | 1303 |  |  | In-line Spark Trap | TRUE |  | BDD 22 |  | 17" | TCBI 30
| Solenoid Heater Kit |  | Solenoid heater kit for cold weather installation | [8 empty] | Solenoid Heater Kit | FALSE |  | BDD 24 |  | 18" | BCS 330-12
| Rotary Air Lock Adapter |  | Adapter to bolt air lock to hopper (price per hopper) | [8 empty] | Rotary Air Lock Adapter | FALSE |  | BDD 26 |  | 19" | BCS 330-14
| Rotary Air Lock |  | DCS-6 | 6" dust collector duty rotary air lock, 1/3 HP, 29RPM, direct drive | [7 empty] | Rotary Air Lock | FALSE |  | BDD 28 |  | 20" | BCS 330-16
| Bolt-on Neoprene Wipers for Rotary Air Lock | [10 empty] | Bolt-on Neoprene Wipers | FALSE |  | BDD 30 |  | 21" | BCS 330-18
| Single Hopper |  | Single hopper for two modules | [8 empty] | Single Hopper | FALSE |  | BDD 32 |  | 22" | BCS 330-20
|  |  | Leg extensions for single hopper | [8 empty] | Leg Extensions | FALSE |  | BDD 34 |  | 23"
| Explosion Vents |  | EXP3636 | [8 empty] | Explosion Vents | FALSE |  | BDD 36 |  | 24"
| Control Panels |  | 10-460 | 10HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  |  |  |  | 1898 |  |  | Control Panels | TRUE
| Steel Connector |  | Steel connection from hopper to drum lid | [5 empty] | 150 |  |  | Steel Connector | TRUE
| Drum Lid Latch Ring |  | 1 Latch ring per drum |  | 2 | 1 Latch ring for each hopper |  |  | 100 | Multiplier |  | Drum Lid Latch Ring | TRUE
[7 empty] | Total |  | 17881 | 1

## Lookup
|  | Model | Description |  |  |  | Price
| 0 | ACT 2-2 DD | · New 2 cartridge downflow dust collector |  |  |  | 4804
| 0 | ACT 2-2 DD | · Holds 2 cartridge filters totaling 508 sq ft of filter media
| 0 | ACT 2-2 DD | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 2-2 DD | · reverse pulse filter cleaning system
| 0 | ACT 2-2 DD | · Pulse control timer board with built-in digital pressure gage
| 0 | ACT 2-2 DD | · Goyen solenoid and diaphragm valves
| 0 | ACT 2-2 DD | · Dust drawer
| 0 | ACT 2-2 DD | · Quick lock, easy access door
| 0 | ACT 2-2 DD | · Heavy duty 7 and 10 gage construction
| 0 | ACT 2-2 DD | · 5 year manufactures materials and craftsmanship warranty
| 0 | ACT 2-2 DD | · Made in the USA
0
| 0 | ACT 2-2 H | · New 2 cartridge downflow dust collector |  |  |  | 5785
| 0 | ACT 2-2 H | · Holds 2 cartridge filters totaling 508 sq ft of filter media
| 0 | ACT 2-2 H | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 2-2 H | · reverse pulse filter cleaning system
| 0 | ACT 2-2 H | · Pulse control timer board with built-in digital pressure gage
| 0 | ACT 2-2 H | · Goyen solenoid and diaphragm valves
| 0 | ACT 2-2 H | · 55 gallon drum leg pack
| 0 | ACT 2-2 H | · Drum lid
| 0 | ACT 2-2 H | · Quick lock, easy access door
| 0 | ACT 2-2 H | · Heavy duty 7 and 10 gage construction
| 0 | ACT 2-2 H | · 5 year manufactures materials and craftsmanship warranty
| 0 | ACT 2-2 H | · Made in the USA
0
| 0 | ACT 2-4 | · New 4 cartridge downflow dust collector |  |  |  | 6658
| 0 | ACT 2-4 | · Holds 4 cartridge filters totaling 1,016 sq ft of filter media
| 0 | ACT 2-4 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 2-4 | · reverse pulse filter cleaning system
| 0 | ACT 2-4 | · Pulse control timer board with built-in digital pressure gage
| 0 | ACT 2-4 | · Goyen solenoid and diaphragm valves
| 0 | ACT 2-4 | · Drum lid
| 0 | ACT 2-4 | · Quick lock, easy access door
| 0 | ACT 2-4 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 2-4 | · 5 year manufactures materials and craftsmanship warranty
| 0 | ACT 2-4 | · Made in the USA
0
| 0 | ACT 3-6 | · New 6 cartridge downflow dust collector |  |  |  | 7476
| 0 | ACT 3-6 | · Holds 6 cartridge filters totaling 1,524 sq ft of filter media
| 0 | ACT 3-6 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-6 | · reverse pulse filter cleaning system
| 0 | ACT 3-6 | · Pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-6 | · Goyen diaphragm and solenoid valves
| 0 | ACT 3-6 | · Drum lid
| 0 | ACT 3-6 | · Quick lock, easy access door
| 0 | ACT 3-6 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-6 | · 5 year manufactures materials and craftsmanship warranty
| 0 | ACT 3-6 | · Made in the USA
0
| 1 | ACT 2-8 | · New 8 cartridge downflow dust collector |  |  |  | 8466
| 2 | ACT 2-8 | · Holds 8 cartridge filters totaling 2,032 sq ft of filter media
| 4 | ACT 2-8 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 8 | ACT 2-8 | · reverse pulse filter cleaning system
| 16 | ACT 2-8 | · pulse control timer board with built-in digital pressure gage
| 32 | ACT 2-8 | · Goyen diaphragm and solenoid valves
| 64 | ACT 2-8 | · Drum lid
| 128 | ACT 2-8 | · Quick lock, easy access door
| 256 | ACT 2-8 | · Heavy duty 7 and 10 gage construction
| 512 | ACT 2-8 | · 5 year manufactures materials and craftsmanship warranty
| 1024 | ACT 2-8 | · Made in the USA
2048
| 0 | ACT 2-12 | · New 12 cartridge downflow dust collector negligence |  |  |  | 10914
| 0 | ACT 2-12 | · Holds 12 cartridge filters totaling 3,048 sq ft of filter media
| 0 | ACT 2-12 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 2-12 | · reverse pulse filter cleaning system
| 0 | ACT 2-12 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 2-12 | · Goyen solenoid and diaphragm valves
| 0 | ACT 2-12 | · Drum lid
| 0 | ACT 2-12 | · Quick lock, easy access door
| 0 | ACT 2-12 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 2-12 | · 5 year manufactures materials and craftsmanship warranty
| 0 | ACT 2-12 | · Made in the USA
0
| 0 | ACT 3-12 | · New 12 cartridge downflow dust collector |  |  |  | 10336
| 0 | ACT 3-12 | · Holds 12 cartridge filters totaling 3,048 sq ft of filter media
| 0 | ACT 3-12 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-12 | · reverse pulse filter cleaning system
| 0 | ACT 3-12 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-12 | · Goyen solenoid and diaphragm valves
| 0 | ACT 3-12 | · Drum lid
| 0 | ACT 3-12 | · Quick lock, easy access door
| 0 | ACT 3-12 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-12 | · 5 year manufactures materials and craftsmanship warranty
| 0 | ACT 3-12 | · Made in the USA
0
| 0 | ACT 2-16 | · New 16 cartridge downflow dust collector |  |  |  | 13184
| 0 | ACT 2-16 | · Holds 16 cartridge filters totaling 4,064 sq ft of filter media
| 0 | ACT 2-16 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 2-16 | · reverse pulse filter cleaning system
| 0 | ACT 2-16 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 2-16 | · Goyen diaphragm and solenoid valves
| 0 | ACT 2-16 | · Drum lid
| 0 | ACT 2-16 | · Quick lock, easy access filter doors
| 0 | ACT 2-16 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 2-16 | · 5 year workmanship and materials warranty
| 0 | ACT 2-16 | · Made in the USA
0
| 0 | ACT 4-16 | · New 16 cartridge downflow dust collector |  |  |  | 12076
| 0 | ACT 4-16 | · Holds 16 cartridge filters totaling 4,064 sq ft of filter media
| 0 | ACT 4-16 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-16 | · reverse pulse filter cleaning system
| 0 | ACT 4-16 | · Pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-16 | · Goyen diaphragm and solenoid valves
| 0 | ACT 4-16 | · Drum lid
| 0 | ACT 4-16 | · Quick lock, easy access filter doors
| 0 | ACT 4-16 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-16 | · 5 year workmanship and materials warranty
| 0 | ACT 4-16 | · Made in the USA
0
| 0 | ACT 3-18 | · 18 cartridge downflow dust collector |  |  |  | 13179
| 0 | ACT 3-18 | · Holds 18 cartridge filters totaling 4,572 sq ft of filter media
| 0 | ACT 3-18 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-18 | · reverse pulse filter cleaning system
| 0 | ACT 3-18 | · Pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-18 | · Goyen diaphragm and solenoid valves
| 0 | ACT 3-18 | · Drum lid
| 0 | ACT 3-18 | · Quick lock, easy access filter doors
| 0 | ACT 3-18 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-18 | · 5 year workmanship and materials warranty
| 0 | ACT 3-18 | · Made in the USA
0
| 0 | ACT 5-20 | · 20 cartridge downflow dust collector |  |  |  | 14279
| 0 | ACT 5-20 | · Holds 20 cartridge filters totaling 5,080 sq ft of filter media
| 0 | ACT 5-20 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 5-20 | · reverse pulse filter cleaning system
| 0 | ACT 5-20 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 5-20 | · Goyen diaphragm and solenoid valves
| 0 | ACT 5-20 | · Drum lid
| 0 | ACT 5-20 | · Quick lock, easy access filter doors
| 0 | ACT 5-20 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 5-20 | · 5 year workmanship and materials warranty
| 0 | ACT 5-20 | · Made in the USA
0
| 0 | ACT 2-24 | · 24 cartridge downflow dust collector |  |  |  | 19345
| 0 | ACT 2-24 | · Holds 24 cartridge filters totaling 6,096 sq ft of filter media
| 0 | ACT 2-24 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 2-24 | · reverse pulse filter cleaning system
| 0 | ACT 2-24 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 2-24 | · Goyen diaphragm and solenoid valves
| 0 | ACT 2-24 | · Drum lid
| 0 | ACT 2-24 | · Quick lock, easy access filter doors
| 0 | ACT 2-24 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 2-24 | · 5 year craftsmanship and materials warranty
| 0 | ACT 2-24 | · Made in the USA
0
| 0 | ACT 3-24 | · 24 cartridge downflow dust collector |  |  |  | 18100
| 0 | ACT 3-24 | · Holds 24 cartridge filters totaling 6,096 sq ft of filter media
| 0 | ACT 3-24 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-24 | · reverse pulse filter cleaning system
| 0 | ACT 3-24 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-24 | · Goyen diaphragm and solenoid valves
| 0 | ACT 3-24 | · Drum lid
| 0 | ACT 3-24 | · Quick lock, easy access filter doors
| 0 | ACT 3-24 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-24 | · 5 year craftsmanship and materials warranty
| 0 | ACT 3-24 | · Made in the USA
0
| 0 | ACT 4-32 | · 32 cartridge downflow dust collector |  |  |  | 21436
| 0 | ACT 4-32 | · Holds 32 cartridge filters totaling 8,128 sq ft of filter media
| 0 | ACT 4-32 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-32 | · reverse pulse filter cleaning system
| 0 | ACT 4-32 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-32 | · Goyen diaphragm and solenoid valves
| 0 | ACT 4-32 | · Drum lid
| 0 | ACT 4-32 | · Quick lock, easy access filter doors
| 0 | ACT 4-32 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-32 | · 5 year craftsmanship and materials warranty
| 0 | ACT 4-32 | · Made in the USA
0
| 0 | ACT 3-36 | · 36 cartridge downflow dust collector |  |  |  | 26167
| 0 | ACT 3-36 | · Holds 36 cartridge filters totaling 9,144 sq ft of filter media
| 0 | ACT 3-36 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-36 | · reverse pulse filter cleaning system
| 0 | ACT 3-36 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-36 | · Goyen diaphragm and solenoid valves
| 0 | ACT 3-36 | · Drum lid
| 0 | ACT 3-36 | · Quick lock, easy access filter doors
| 0 | ACT 3-36 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-36 | · 5 year workmanship and materials warranty
| 0 |  | · Made in the USA
0
| 0 | ACT 5-40 | · 40 cartridge downflow dust collector |  |  |  | 26304
| 0 | ACT 5-40 | · Holds 40 cartridge filters totaling 10,160 sq ft of filter media
| 0 | ACT 5-40 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 5-40 | · reverse pulse filter cleaning system
| 0 | ACT 5-40 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 5-40 | · Goyen diaphragm and solenoid valves
| 0 | ACT 5-40 | · Drum lid
| 0 | ACT 5-40 | · Quick lock, easy access filter doors
| 0 | ACT 5-40 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 5-40 | · 5 year workmanship and materials warranty
| 0 | ACT 5-40 | · Made in the USA
0
| 0 | ACT 3-48 | · 48 cartridge downflow dust collector |  |  |  | 34504
| 0 | ACT 3-48 | · Holds 48 cartridge filters totaling 12,192 sq ft of filter media
| 0 | ACT 3-48 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-48 | · reverse pulse filter cleaning system
| 0 | ACT 3-48 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-48 | · Goyen diaphragm and solenoid valves
| 0 | ACT 3-48 | · Drum lid
| 0 | ACT 3-48 | · Quick lock, easy access filter doors
| 0 | ACT 3-48 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-48 | · 5 year workmanship and materials warranty
| 0 | ACT 3-48 | · Made in the USA
0
| 0 | ACT 4-48 | · 48 cartridge downflow dust collector |  |  |  | 31729
| 0 | ACT 4-48 | · Holds 48 cartridge filters totaling 12,192 sq ft of filter media
| 0 | ACT 4-48 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-48 | · reverse pulse filter cleaning system
| 0 | ACT 4-48 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-48 | · Goyen diaphragm and solenoid valves
| 0 | ACT 4-48 | · Drum lid
| 0 | ACT 4-48 | · Quick lock, easy access filter doors
| 0 | ACT 4-48 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-48 | · 5 year workmanship and materials warranty
| 0 | ACT 4-48 | · Made in the USA
0
| 0 | ACT 3-54 | · 54 cartridge downflow dust collector |  |  |  | 35009
| 0 | ACT 3-54 | · Holds 54 cartridge filters totaling 13,716 sq ft of filter media
| 0 | ACT 3-54 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-54 | · reverse pulse filter cleaning system
| 0 | ACT 3-54 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-54 | · Goyen diaphragm and solenoid valves
| 0 | ACT 3-54 | · Drum lid
| 0 | ACT 3-54 | · Quick lock, easy access filter doors
| 0 | ACT 3-54 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-54 | · 5 year workmanship and materials warranty
| 0 | ACT 3-54 | · Made in the USA
0
| 0 | ACT 5-60 | · 60 cartridge downflow dust collector |  |  |  | 39296
| 0 | ACT 5-60 | · Holds 60 cartridge filters totaling 15,240 sq ft of filter media
| 0 | ACT 5-60 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 5-60 | · reverse pulse filter cleaning system
| 0 | ACT 5-60 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 5-60 | · Goyen diaphragm and solenoid valves
| 0 | ACT 5-60 | · Drum lid
| 0 | ACT 5-60 | · Quick lock, easy access filter doors
| 0 | ACT 5-60 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 5-60 | · 5 year workmanship and materials warranty
| 0 | ACT 5-60 | · Made in the USA
0
| 0 | ACT 4-64 | · 64 cartridge downflow dust collector |  |  |  | 40462
| 0 | ACT 4-64 | · Holds 64 cartridge filters totaling 16,256 sq ft of filter media
| 0 | ACT 4-64 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-64 | · reverse pulse filter cleaning system
| 0 | ACT 4-64 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-64 | · Goyen diaphragm and solenoid valves
| 0 | ACT 4-64 | · Quick lock, easy access filter door
| 0 | ACT 4-64 | · Drum lids
| 0 | ACT 4-64 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-64 | · 5 year craftsmanship and materials warranty
| 0 | ACT 4-64 | · Made in the USA
0
| 0 | ACT 3-72 | · 72 cartridge downflow dust collector |  |  |  | 49060
| 0 | ACT 3-72 | · Holds 72 cartridge filters totaling 18,288 sq ft of filter media
| 0 | ACT 3-72 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 3-72 | · reverse pulse filter cleaning system
| 0 | ACT 3-72 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 3-72 | · Goyen diaphragm and solenoid valves
| 0 | ACT 3-72 | · Quick lock, easy access filter door
| 0 | ACT 3-72 | · Drum lids
| 0 | ACT 3-72 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 3-72 | · 5 year craftsmanship and materials warranty
| 0 | ACT 3-72 | · Made in the USA
0
| 0 | ACT 4-80 | · 80 cartridge downflow dust collector |  |  |  | 51893
| 0 | ACT 4-80 | · Holds 80 cartridge filters totaling 20,320 sq ft of filter media
| 0 | ACT 4-80 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-80 | · reverse pulse filter cleaning system
| 0 | ACT 4-80 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-80 | · Goyen solenoid and diaphragm valves
| 0 | ACT 4-80 | · Quick lock, easy access filter door
| 0 | ACT 4-80 | · Drum lids
| 0 | ACT 4-80 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-80 | · 5 year workmanship and materials warranty
| 0 | ACT 4-80 | · Made in the USA
0
| 0 | ACT 5-80 | · 80 cartridge downflow dust collector |  |  |  | 50696
| 0 | ACT 5-80 | · Holds 80 cartridge filters totaling 20,320 sq ft of filter media
| 0 | ACT 5-80 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 5-80 | · reverse pulse filter cleaning system
| 0 | ACT 5-80 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 5-80 | · Goyen diaphragm and solenoid valves
| 0 | ACT 5-80 | · Drum lid
| 0 | ACT 5-80 | · Quick lock, easy access filter doors
| 0 | ACT 5-80 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 5-80 | · 5 year workmanship and materials warranty
| 0 | ACT 5-80 | · Made in the USA
0
| 0 | ACT 4-96 | · 96 cartridge downflow dust collector |  |  |  | 60068
| 0 | ACT 4-96 | · Holds 96 cartridge filters totaling 24,384 sq ft of filter media
| 0 | ACT 4-96 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-96 | · reverse pulse filter cleaning system
| 0 | ACT 4-96 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-96 | · Goyen solenoid and diaphragm valves
| 0 | ACT 4-96 | · Quick lock, easy access filter door
| 0 | ACT 4-96 | · Drum lids
| 0 | ACT 4-96 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-96 | · 5 year workmanship and materials warranty
| 0 | ACT 4-96 | · Made in the USA
0
| 0 | ACT 5-100 | · 100 cartridge downflow dust collector |  |  |  | 63233
| 0 | ACT 5-100 | · Holds 100 cartridge filters totaling 25,400 sq ft of filter media
| 0 | ACT 5-100 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 5-100 | · reverse pulse filter cleaning system
| 0 | ACT 5-100 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 5-100 | · Goyen diaphragm and solenoid valves
| 0 | ACT 5-100 | · Drum lid
| 0 | ACT 5-100 | · Quick lock, easy access filter doors
| 0 | ACT 5-100 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 5-100 | · 5 year workmanship and materials warranty
| 0 | ACT 5-100 | · Made in the USA
0
| 0 | ACT 4-112 | · 112 cartridge downflow dust collector |  |  |  | 73418
| 0 | ACT 4-112 | · Holds 112 cartridge filters totaling 28,448 sq ft of filter media
| 0 | ACT 4-112 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-112 | · reverse pulse filter cleaning system
| 0 | ACT 4-112 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-112 | · Goyen solenoid and diaphragm valves
| 0 | ACT 4-112 | · Quick lock, easy access filter door
| 0 | ACT 4-112 | · Drum lids
| 0 | ACT 4-112 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-112 | · 5 year workmanship and materials warranty
| 0 | ACT 4-112 | · Made in the USA
0
| 0 | ACT 4-128 | · 128 cartridge downflow dust collector |  |  |  | 76307
| 0 | ACT 4-128 | · Holds 128 cartridge filters totaling 32,512 sq ft of filter media
| 0 | ACT 4-128 | · ACT Nano-Elite, Nano-Fiber filters with industry best Merv 15 efficiency
| 0 | ACT 4-128 | · reverse pulse filter cleaning system
| 0 | ACT 4-128 | · pulse control timer board with built-in digital pressure gage
| 0 | ACT 4-128 | · Goyen diaphragms and solenoids
| 0 | ACT 4-128 | · Quick lock, easy access filter door
| 0 | ACT 4-128 | · Heavy duty 7 and 10 gage construction
| 0 | ACT 4-128 | · Drum lids
| 0 | ACT 4-128 | · 5 year craftsmanship and materials warranty
| 0 | ACT 4-128 | · Made in the USA
|  | Fan | Description |  |  | Price |  | Silencer | Description |  | Price |  | Damper | Description | Price
1000 | #REF! | TCBI 3 | 3HP motor with direct drive, top mount fan | 1,000 CFM @ 10" |  | 1902 |  | SIL 3 | Silencer for TCBI 3 |  | 801 |  | DAM 3 | Damper for TCBI 3, opposed blade | 414
2000 | #REF! | TCBI 5 | 5HP motor with direct drive, top mount fan | 2,000 CFM @ 10" |  | 2178 |  | SIL 5 | Silencer for TCBI 5 |  | 801 |  | DAM 5 | Damper for TCBI 5, opposed blade | 438
3000 | #REF! | TCBI 7.5 | 7.5HP motor with direct drive, top mount fan | 3,000 CFM @ 10" |  | 2460 |  | SIL 7.5 | Silencer for TCBI 7.5 |  | 810 |  | DAM 7.5 | Damper for TCBI 7.5, opposed blade | 438
4000 | #REF! | TCBI 10 | 10HP motor with direct drive, top mount fan | 4,000 CFM @ 10" |  | 2742 |  | SIL 10 | Silencer for TCBI 10 |  | 810 |  | DAM 10 | Damper for TCBI 10, opposed blade | 438
5800 | #REF! | TCBI 15 | 15HP motor with direct drive, top mount fan | 5,800 CFM @ 10" |  | 3222 |  | SIL 15 | Silencer for TCBI 15 |  | 834 |  | DAM 15 | Damper for TCBI 15, opposed blade | 591
7800 | #REF! | TCBI 20 | 20HP motor with direct drive, top mount fan | 7,800 CFM @ 10" |  | 3536 |  | SIL 20 | Silencer for TCBI 20 |  | 834 |  | DAM 20 | Damper for TCBI 20, opposed blade | 591
8600 | #REF! | TCBI 25 | 25HP motor with direct drive, top mount fan | 8,600 CFM @ 10" |  | 3885 |  | SIL 25 | Silencer for TCBI 25 |  | 985 |  | DAM 25 | Damper for TCBI 25, opposed blade | 740
10400 | #REF! | TCBI 30 | 30HP motor with direct drive, top mount fan | 10,400 CFM @ 12" |  | 4125 |  | SIL 30 | Silencer for TCBI 30 |  | 985 |  | DAM 30 | Damper for TCBI 30, opposed blade | 740
12000 | #REF! | BCS 330-12 | 30HP motor with direct drive, ground mount fan | 12,000 CFM @ 12" |  | 5864 |  | SIL BCS 12 | Silencer for BCS 330 |  | 2134 |  | DAM BCS 12 | Damper for 12,000 CFM fan, parallel blade | 743
14000 | #REF! | BCS 330-14 | 40HP motor with direct drive, ground mount fan | 14,000 CFM @ 12" |  | 6268 |  | SIL BCS 14 | Silencer for BCS 330 |  | 2152 |  | DAM BCS 14 | Damper for 14,000 CFM fan, parallel blade | 743
16000 | #REF! | BCS 330-16 | 40HP motor with direct drive, ground mount fan | 16,000 CFM @ 12" |  | 6268 |  | SIL BCS 16 | Silencer for BCS 330 |  | 2169 |  | DAM BCS 16 | Damper for 16,000 CFM fan, parallel blade | 743
18000 | #REF! | BCS 330-18 | 50HP motor with direct drive, ground mount fan | 18,000 CFM @ 12" |  | 6648 |  | SIL BCS 18 | Silencer for BCS 330 |  | 2314 |  | DAM BCS 18 | Damper for 18,000 CFM fan, parallel blade | 743
20000 | #REF! | BCS 330-20 | 50HP motor with direct drive, ground mount fan | 20,000 CFM @ 12" |  | 6404 |  | SIL BCS 20 | Silencer for BCS 330 |  | 2314 |  | DAM BCS 20 | Damper for 20,000 CFM fan, parallel blade | 743
|  | Abrasive inlet plenum | Description |  |  | Price
| 1 | ABIN 1 | abrasive inlet plenum for single module collector |  |  | 798
| 2 | ABIN 2 | abrasive inlet plenum for double module collector |  |  | 1215
| 3 | ABIN 3 | abrasive inlet plenum for triple module collector |  |  | 1799
| 4 | ABIN 4 | abrasive inlet plenum for four module collector |  |  | 2430
| 5 | ABIN 5 | abrasive inlet plenum for five module collector |  |  | 3014
| 6 | ABIN 6 | abrasive inlet plenum for six module collector |  |  | 3598
| 7 | ABIN 7 | abrasive inlet plenum for seven module collector |  |  | 4229
| 8 | ABIN 8 | abrasive inlet plenum for eight module collector |  |  | 4860
|  | Hepa after-filter plenum | Description |  | Price
|  | HAFP 1 | Hepa after filter plenum for up to 2,000 CFM includes Hepa filter (transitions not included) |  | 1491
|  | HAFP 2 | Hepa after filter plenum for up to 4,000 CFM includes Hepa filter (transitions not included) |  | 2236
|  | HAFP 3 | Hepa after filter plenum for up to 6,000 CFM includes Hepa filter (transitions not included) |  | 2882
|  | HAPF 4 | Hepa after filter plenum for up to 8,000 CFM includes Hepa filter (transitions not included) |  | 4151
|  | HAFP 6 | Hepa after fitler plenum for up to 12,000 CFM includes Hepa filter (transitions not included) |  | 5740
|  | HAFP 8 | Hepa after filter plenum for up to 16,000 CFM includes Hepa filter (transitions not included) |  | 8255
|  | HAFP 9 | Hepa after filter plenum for up to 18,000 CFM includes Hepa filter (transitions not included) |  | 8332
|  | In-line Spark Trap | Description |  | Price
| 8" | ST 8 | 8" in-line spark trap with access door |  | 928
| 10" | ST 10 | 10" in-line spark trap with access door |  | 1010
| 11" | ST 11 | 11" in-line spark trap with access door |  | 1032
| 12" | ST 12 | 12" in-line spark trap with access door |  | 1059
| 13" | ST 13 | 13" in-line spark trap with access door |  | 1095
| 14" | ST 14 | 14" in-line spark trap with access door |  | 1227
| 15" | ST 15 | 15" in-line spark trap with access door |  | 1264
| 16" | ST 16 | 16" in-line spark trap with access door |  | 1303
| 17" | ST 17 | 17" in-line spark trap with access door |  | 1342
| 18" | ST 18 | 18" in-line spark trap with access door |  | 1377
| 19" | ST 19 | 19" in-line spark trap with access door |  | 1415
| 20" | ST 20 | 20" in-line spark trap with access door |  | 1481
| 21" | ST 21 | 21" in-line spark trap with access door |  | 1503
| 22" | ST 22 | 22" in-line spark trap with access door |  | 1532
| 23" | ST 23 | 23" in-line spark trap with access door |  | 1559
| 24" | ST 24 | 24" in-line spark trap with access door |  | 1578
|  | Rotary Air Locks | Description |  | Price
|  | DCS-6 | 6" dust collector duty rotary air lock, 1/3 HP, 29RPM, direct drive |  | 2326
|  | DCS-8 | 8" dust collector duty rotary air lock, 1/2 HP, 29RPM, direct drive |  | 2349
|  | DCS-10 | 10" dust collector duty rotary air lock, 3/4 HP, 29RPM, direct drive |  | 2806
|  | DCS-12 | 12" dust collector duty rotary air lock, 1 HP, 29RPM, direct drive |  | 3564
|  | BNW | Bolt-on neoprene wipers |  | 200
|  | Rotary Air Lock Adapter | Description |  | Price
|  | ADPT | adapter to bolt air lock to hopper. Price is |  | 355
per hopper
|  | Explosion vents | Description | [6 empty] | Price
|  | EXP1218 | 12" x 18" explosion relief panel. 1.36 sq ft vent area. Domed for durability. Kst value required. | [6 empty] | 927
|  | EXP2424 | 24" x 24" explosion relief panel. 3.75 sq ft vent area. Domed for durability. Kst value required. | [6 empty] | 1258
|  | EXP1835 | 18" x 35" explosion relief panel. 4.13 sq ft vent area. Domed for durability. Kst value required. | [6 empty] | 1341
|  | EXP2436 | 24" x 36" explosion relief panel. 5.72 sq ft vent area. Domed for durability. Kst value required. | [6 empty] | 1920
|  | EXP3636 | 36" x 36" explosion relief panel. 8.63 sq ft vent area. Domed for durability. Kst value required. | [6 empty] | 2240
|  | EXP3644 | 36" x 44" explosion relief panel. 10.6 sq ft vent area. Domed for durability. Kst value required. | [6 empty] | 2719
|  | Steel Connector | Descrition |  | Price
| 1 | SC1 | Steel connection from hopper to drum lid |  | 150
for collectors with 1 hopper
| 2 | SC2 | Steel connection from hopper to drum lid |  | 300
for collectors with 2 hoppers
| 3 | SC3 | Steel connection from hopper to drum lid |  | 450
for collectors with 3 hoppers
| 4 | SC4 | Steel connection from hopper to drum lid |  | 600
for collectors with 4 hoppers
| 5 | SC5 | Steel connection from hopper to drum lid |  | 750
for collectors with 5 hoppers
| 6 | SC6 | Steel connection from hopper to drum lid |  | 900
for collectors with 6 hoppers
| 7 | SC7 | Steel connection from hopper to drum lid |  | 1050
for collectors with 7 hoppers
| 8 | SC8 | Steel connection from hopper to drum lid |  | 1200
for collectors with 8 hoppers
|  | Drum lid latch ring | Description |  | Price
|  | DLR1 | Drum lid latch ring |  | 100
for collectors with 1 drum
|  | DLR2 | Drum lid latch ring |  | 200
for collectors with 2 drums
|  | DLR3 | Drum lid latch ring |  | 300
for collectors with 3 drums
|  | DLR4 | Drum lid latch ring |  | 400
for collectors with 4 drums
|  | DLR5 | Drum lid latch ring |  | 500
for collectors with 5 drums
|  | DLR6 | Drum lid latch ring |  | 600
for collectors with 6 drums
|  | DLR7 | Drum lid latch ring |  | 700
for collectors with 7 drums
|  | Back Draft Damper | Description |  | Price
|  | BDD 8 | 8" back draft damper |  | 1188
|  | BDD 10 | 10" back draft damper |  | 1404
|  | BDD 12 | 12" back draft damper |  | 1647
|  | BDD 14 | 14" back draft damper |  | 1779
|  | BDD 16 | 16" back draft damper |  | 1891
|  | BDD 17 | 17" back draft damper |  | 2059
|  | BDD 18 | 18" back draft damper |  | 2266
|  | BDD 20 | 20" back draft damper |  | 2379
|  | BDD 22 | 22" back draft damper |  | 2472
|  | BDD 24 | 24" back draft damper |  | 2641
|  | BDD 26 | 26" back draft damper |  | 2884
|  | BDD 28 | 28" back draft damper |  | 3163
|  | BDD 30 | 30" back draft damper |  | 3343
|  | BDD 32 | 32" back draft damper |  | 3584
|  | BDD 34 | 34" back draft damper |  | 3772
|  | BDD 36 | 36" back draft damper |  | 4006
|  | Slide Gate | Description |  | Price
|  | SG1 | slide gate for collectors with 1 hopper |  | 100
|  | SG2 | slide gate for collectors with 2 hoppers |  | 200
|  | SG3 | slide gate for collectors with 3 hoppers |  | 300
|  | SG4 | slide gate for collectors with 4 hoppers |  | 400
|  | SG5 | slide gate for collectors with 5 hoppers |  | 500
|  | SG6 | slide gate for collectors with 6 hoppers |  | 600
|  | SG7 | slide gate for collectors with 7 hoppers |  | 700
|  | SG8 | slide gate for collectors with 8 hoppers |  | 800
|  | Sprinkler Coupler | Description |  | Price
| 1 | SC1 | sprinkler coupler for collectors with 1 module |  | 50
| 2 | SC2 | sprinkler coupler for collectors with 2 modules |  | 100
| 3 | SC3 | sprinkler coupler for collectors with 3 modules |  | 150
| 4 | SC4 | sprinkler coupler for collectors with 4 modules |  | 200
| 5 | SC5 | sprinkler coupler for collectors with 5 modules |  | 250
| 6 | SC6 | sprinkler coupler for collectors with 6 modules |  | 300
| 7 | SC7 | sprinkler coupler for collectors with 7 modules |  | 350
| 8 | SC8 | sprinkler coupler for collectors with 8 modules |  | 400
|  | Solenoid Heater Kit | Description |  | Price
| 1 | SHK1 | Solenoid heater kit for cold weather installation |  | 180
for collectors with 1 module
| 2 | SHK2 | Solenoid heater kit for cold weather installation |  | 328
for collectors with 2 modules
| 3 | SHK3 | Solenoid heater kit for cold weather installation |  | 437
for collectors with 3 modules
| 4 | SHK4 | Solenoid heater kit for cold weather installation |  | 610
for collectors with 4 modules
| 5 | SHK5 | Solenoid heater kit for cold weather installation |  | 755
for collectors with 5 modules
| 6 | SHK6 | Solenoid heater kit for cold weather installation
for collectors with 6 modules
| 7 | SHK7 | Solenoid heater kit for cold weather installation
for collectors with 7 modules
| 8 | SHK8 | Solenoid heater kit for cold weather installation
for collectors with 8 modules
|  | Single Hopper | Description |  | Price
|  | SHP | single hopper for two modules |  | 600
|  | LEXT | leg extensions for single hopper |  | 300
|  | Control Panels | Description |  | Price
|  | 5-230 | 5HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3 phase |  | 1898
|  | 5-460 | 5HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 1875
|  | 7.5-230 | 7.5HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 1898
|  | 7.5-460 | 7.5HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 1890
|  | 10-230 | 10HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 1980
|  | 10-460 | 10HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 1898
|  | 15-230 | 15HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 2018
|  | 15-460 | 15HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 1898
|  | 20-230 | 20HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 2415
|  | 20-460 | 20HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 1980
|  | 25-230 | 25HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 2415
|  | 25-460 | 25HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 2018
|  | 30-230 | 30HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 2513
|  | 30-460 | 30HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 2018
|  | 40-230 | 40HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 2835
|  | 40-460 | 40HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 2415
|  | 50-230 | 50HP All-in-one starter/disconnect/timer board/digital pressure gage 230V 3ph |  | 4088
|  | 50-460 | 50HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 2415
|  | 60-460 | 60HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 2513
|  | 80-460 | 75HP All-in-one starter/disconnect/timer board/digital pressure gage 460V 3ph |  | 3323
|  | Filter Upgrade | Description |  | adder
|  | 22711 | · ACT Nano-Elite, flame-retardant, Nano-Fiber media with industry best Merv 15 efficiency |  | 8 |  | ACT Nano-Elite, flame-retardant, Nano-Fiber media with industry best Merv 15 efficiency |  |  |  |  | 22711
|  | 22412-1 | · ACT Poly-Elite, spun-bond polyester media with 100 sq ft of media per filter |  | N/C |  | ACT Poly-Elite, spun-bond polyester media with 100 sq ft of media per filter |  |  |  |  | 22412-1
|  | 5 | · ACT Nano-Elite, Nano-Fiber media with industry best Merv 15 efficiency |  | N/C |  | ACT Nano-Elite, Nano-Fiber media with industry best Merv 15 efficiency |  |  |  |  | 5
22711