| Avani Environmental Inc. | Phone: (919) 570-2862 |
| --- | --- |
| Attention: Mr. Bob Venezia | Subject: Mexico Project |

We are pleased to offer our proposal for Cincinnati Fan products:

Item #1

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 38000 | 17.7 in.wg | 70 °F | Sea Level | 0.075 lb/ft³ | 1708 | 135.0 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | IAP Size 402 ‘B’, Class IV, 100% Width, Arrangement 1 Fan, motor and motor base mounted on full unitary base | $21,740 | $21,740 |
|  | MOTOR: 150 HP, 1800 RPM, 3PH/60Hz/230/460V, TEFC, Premium Efficiency, FM, 405T, 1.15 SF, F Insul., 40C Amb. (1) Set Fixed V-Belt Drives Motor & Drive Mounting Included | Included |  |
|  | Shaft/Bearing Guard & Belt Guard |  |  |
|  | Shaft Seal | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Drain with Plug & Bolted Inspection Door | Included |  |
|  | Discharge Damper - Opposed Blade | Included |  |

Item #2

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 45000 | 15.3 in.wg | 70 °F | Sea Level | 0.075 lb/ft³ | 1419 | 135.0 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | IAP Size 445 ‘B’, Class IV, 100% Width, Arrangement 1 Fan, motor and motor base mounted on full unitary base | $23,351 | $23,351 |
|  | MOTOR: 150 HP, 1800 RPM, 3PH/60Hz/230/460V, TEFC, Premium Efficiency, FM, 405T, 1.15 SF, F Insul., 40C Amb. (1) Set Fixed V-Belt Drives Motor & Drive Mounting Included | Included |  |
|  | Shaft/Bearing Guard & Belt Guard |  |  |
|  | Shaft Seal | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Drain with Plug & Bolted Inspection Door | Included |  |
|  | Discharge Damper - Opposed Blade | Included |  |

Prices listed do not include flexible connectors or sound attenuators of any kind.

Shipment: 6 – 8 Weeks after receipt of order, or release to manufacturing.

Net 30 Days.  FOB Factory.  Freight not included.  Please issue PO to IAP, Inc. c/o Todd Air Solutions.  All IAP terms and conditions of sale will apply.  When ordering, refer to the Quotation # at the top of this proposal.

Sincerely,

Thomas G. Todd

Todd Air Solutions