Honda / Mexico

Cost Breakdown

Exhaust Fan: $24,000.00 COST (35% margins $37,000.00)

 150HP 480volts 3phase 60hertz 45,000CFM

K and B ductwork: $64,200 List

Custom Fabricated Hoods: $17,430.00 List

 5 hoods ranging from 9’ x 5.5’ to 5’ x 5’ / All painted with Thermal resistance silver paint

Access Doors for square ductwork: $4500.00 List

Slide ductwork for Tooling die box: $4300.00 List

Rectangular Automatic Damper: $14,000.00 List

 For 2 dampers / 24” by 24” with button on control panel to operate them

ESSCO Control Panel: (cost is $6500.00) list $10,308.00 (35%)

 NEMA 12 panel for 150 HP motor

Ladder for Operation platform: $6500.00

 Painted yellow

Platform for Exhaust fan: $18,500.00

 Painted yellow

Installation: $34,480.00 I estimated 12 days on-site for a 2-man crew

 Includes Air fare, car rental, expenses

 Travel $2880.00

 On-Site $31,600.00

Materials to hang ductwork: $3500.00 List

Engineering visit: $2000.00

Start up and testing visit $2000.00