Jarden Applied Materials

Jacob Tubing Needed – All Stainless Steel 250mm (10”)

- 6 – 1000mm Slip Tubes

- 8 – 1000mm Tubes

- 1 – 45° Elbow

- 1 – 15° Segment

- 1 – Two Way Valve with inner collar, asymmetrical, with pneumatic rotary actuator

- 2 – Connecting Flanges

- 2 – Welding Ends – flanged on one side

- 20 – Pull Rings (clamps)

- 20 – U-gaskets

- 5 – Ring Seals

Need price and delivery.  Customer would like to install in March. Supplying material only.

Bill Boisvert

Bill Boisvert, Project Specialist

Avani Environmental Intl., Inc.®

95 Cypress Drive, Youngsville, North Carolina 27596

Cell: 919-971-3910 - Office: 919-488-5195

E-mail: bboisvert@avanienvironmental.com

Service-Disabled Veteran

Owned Small Business (SDVOSB)