Jernburg System Notes

- System A, ODF-8000T, S/N: 20061571

  - Turned approximately 17 nipples

  - Straitened approximately 15, 4” connection to machines

  - Balanced System (see attached)

- System B, ODF-4000T, S/N: 20061570 (Alliance Washers)

  - 1 vertical nipple in backwards

  - 1 horizontal nipple in backwards

- System C, ODR-3000, S/N: 20070112 (Induction Heating)

  - 2 vertical nipples in backwards

- System D, ODF-6000, S/N: 20060771 & ODF-4000T S/N: 20061568

  - 4 vertical nipples in backwards on ODF-6000

  - 2 vertical nipples in backwards on ODF-4000T

- System E, ODF-8000T, S/N: 20061572

  - 11 nipples in backwards

- System F, ODF-4000T, S/N: 20061569 (Alliance Washers)

  - 3 vertical nipples in backwards

- System F, ODF-2000, S/N: 20061573 (?) (Unfinished)

  - 1 vertical nipples backwards

- System G, ODF-8000T, S/N: 20061573(?) (Unfinished)

  - 2 vertical nipples in backwards

  - 2 vertical nipples in backwards