Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO 19416

Ship to:	JR Automation

13665 Tyler Street

Holland, MI 49424

Attn: Wayne Romantz

| ø | Description | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
|  | RM-6000 w/mounting brackets | 3 |  |  |  |
|  | SDC-20-16MD | 1 |  |  |  |
|  | Transition 17.8” hole to 17.8” hole | 1 |  |  |  |
|  | Top Plenum Box 3x1 | 1 |  |  |  |
|  | Bottom Plenum Box | 2 |  |  |  |
|  | 20 HP Fan 460V | 1 |  |  |  |
|  | Control Panel | 1 |  |  |  |
|  | Silencer | 1 |  |  |  |
| 10” | Pipe | 4 |  |  |  |
| 16” | Pipe | 3 |  |  |  |
| 10” | Nipple w/ O-ring | 7 |  |  |  |
| 16” | Nipple w/ O-ring | 2 |  |  |  |
| 10” | 90 Deg Elbow | 4 |  |  |  |
| 16” | 90 deg elbow | 1 |  |  |  |
| 10” | 45 deg elbow | 4 |  |  |  |
| 10” | Clamps | 24 |  |  |  |
| 16” | Clamps | 8 |  |  |  |
| 16” | Double Branch 16-10-10-10 | 1 |  |  |  |
| 10” | Angle Flange Adapter | 3 |  |  |  |
| 16” | Angle Flange Adapter | 1 |  |  |  |
| 10” | Full Cut offs | 2 |  |  |  |
|  | Caulk | 5 |  |  |  |
|  | Plenum Feet stand | 4 |  |  |  |
|  | Hardware Pack (per Rodney) | 1 |  |  |  |

Pulled By: ______________		Ship By: 3/26/13

Packaged By: ____________		Ship Via: JCI Logistics