Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO 18719

Ship to:	JR Automation

13665 Tyler Street

Holland, MI 49424

Attn: Wayne Romantz

Cell #4

| ø | Description | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
|  | SDC-20-16MD | 1 |  |  |  |
|  | Roll Media | 1 |  |  |  |
|  | Silencer | 1 |  |  |  |
|  | Control Panel | 1 |  |  |  |
| 18” | 90 deg elbow | 2 |  |  |  |
| 8” | Duct | 5 |  |  |  |
| 14” | Duct | 1 |  |  |  |
| 8” | Nipple/O-Ring | 3 |  |  |  |
| 14” | Nipple/O-Ring | 1 |  |  |  |
| 10” | 90 deg Elbow | 4 |  |  |  |
| 8” | 45 deg elbow | 3 |  |  |  |
| 10” | 45 deg elbow | 2 |  |  |  |
| 8” | Clamps | 15 |  |  |  |
| 10” | Clamps | 20 |  |  |  |
| 14” | Clamps | 5 |  |  |  |
|  | 16-16-8 Branch | 1 |  |  |  |
|  | 16-10-10-10 Branch | 1 |  |  |  |
| 10” | O-rings | 5 |  |  |  |
|  | 4x6 to 8” Rect to Round | 1 |  |  |  |
|  | 12x36 to 10” Rect to Round | 1 |  |  |  |
| 8” | BFD | 1 |  |  |  |
| 10” | BFD | 3 |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Ship Via: CH Robinson

Tracking:

Bill to: Collect