(04-27-15):

BID SPECIFICATION SHEET: Avani Environmental Wall Mount Panel for Welding Applications

Model: WB-WMP-1055 (5’ W x 5’ D x 7’ H)

Project: LEISD; Panels for Existing Slotted Backdraft Hoods

Prepared For: Anna Cutler, Corgan Associates, Frisco, TX, Ph: 214-757-1890, (Alt-Ph: 972-712-2255)

WALL MOUNT PANEL SPECIFICATIONS; Avani Model WB-WMP-103.5:

- Basic Dimensions: 42” D x 84” H; (Please see unit submittal for more detail)

- Panel Steel: 18-Gauge

- Panel Frame and Cross Bracing Steel:  1.5” Square Tube; 16-Gauge

- Panel Construction: Panel steel is stitch welded to frame steel wall and cross bracing

- Mounting: Panel mounts with a total of 12 fasteners; 4 to the wall and 8 to the floor. The frame steel facing the wall will have 2 plates seam welded with 2 holes on opposing sides. The panel will have 2 legs for stability and each leg will feature a 4-hole, 4-inch square plate that can adjust up to 2-inches

- Finish: Panel will have an industrial powder coat finish; Color: Blue is standard; (other colors are available)

- PLEASE NOTE: A wall panel is not suited for equipment requiring stanchions such as hanging fume arms and it is not recommended to use wall panels to support ventilation system duct work. Wall panels should only be used in areas where duty is expected to be light due to the potential of masonry fasteners of loosening if hit hard by equipment or personnel.

- Panels can be fitted with hardware for welding curtains required for welding safety but this hardware is not standard for panels due to 2 panels being required for hanging a welding curtain

Contact:

Kirke Blenkhorn; Educational Sales

Avani Environmental Intl., Inc.

95 Cypress Drive, Youngsville, NC 27596

Direct Line: 919-488-5194, Main Phone: 919-570-2862l Fax: 919-570-2863

Websites:

www.avanienvironmental.com and www.weldingbooths.com

Avani is an Absolent Group Company; http://www.absolent.com/

Optional Items for the Avani Environmental WB-ECO Welding Booth Series:

- Welding Curtain Rod Assembly and Hardware

- Welding Curtains in 1-Piece Vinyl or Strip Type

- Rear Shelf; (Requires 2 panels); shelf is 18” D and has steel under-frame; fits between 2, wall-mounted panels

Other Items by Avani Environmental that May Apply:

- Welding Positioner Pole with Clamp for Securing Flat Steel for Standing and Overhead Welding Applications

- Fume Arms; Avani manufactures hanging and standing fume arms

- Back Draft Slotted Hood

- Welding Table

- Custom Fixtures per the application