8” top draft in booth

69’

88’

Grinding table to use two down draft tables, 7.5, w / divider back to back to make 4 stations

Fans outside the building

Underground square airline to fan and hooked to pipe in welding booth to pull draft down the pipe into this line

Pipe Cutter on table hooked to trunk line

Booth has tapered top that raises height an additional 24” from the 7’ height

Trunk line 24”

Plenum size 40” L to R, 26” F to B, 57”H

Booth Size is 7’ x 7’ x 9’ H