System B

Tube 150mm dia. 2000mm long=8pcs

Slip tube 150mm dia. 1000mm long=5pcs

System C

Tube 150mm dia 2000mm long=5pcs

Tube 150mm dia. 1000mm long=1pc

System D

Tube 150mm dia. 2000mm long=6pcs

System E

Tube 150mm dia. 2000mm long=4pcs

Tube 350mm dia. 2000mm long=6pcs

Tube 150mm dia. 1000mm long=5pcs

Slip[ tube 150mm dia. 1000mm long=5pcs

Elbow 45 deg 200mm=2pcs

MIsc.

150mm 45deg elbow=32pcs

150mm slip tube 200mm long=20pcs

150mm slip tube 500mm long=20pcs

150mm tube 200mm long=20pcs

150mm tube 500mm long=20pcs

150mm u-gaskets=72pcs

150mm o-ring=40pcs

150mm clamps=150pcs