Date:  Feb 15, 2013

Install duct to (2)  existing Absolent

- Straighten and level one existing dun run

- My estimating time on site  4 hours max

Schaeffler Fort Mill , SC   Plant # 6

ODF-2000  Parts

Qty    (1)   Reducer 8” to 6”

(6)   Pipe 6”

(3)   Elbow 6”  90 degree

(5)   Adjustable Nipples 6”

(1)   Angle Ring Adaptor 6”

(1)   Metal plate to cover existing inlet and attach 6” angle ring

(15)   Clamps 6”

(1)   Clamp 8”

Installation Cost   $