| Avani Environmental | Phone: (919) 570-2862 |
| --- | --- |
| Attention: Mr. Bill Boisvert | Quote valid thru 8/1/13 for shipment by 9/30/13. |

We are pleased to offer our proposal for Cincinnati Fan products:

Item #1 – Direct Drive

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 25000 | 10 in.wg | 70 °F | 0 ft | 0.075 lb/ft³ | 1770 | 56.3 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | Cincinnati Fan HDBI-330, Class II/III/IV, 95% Width, Arrangement 4 Fan is painted ‘Avani Blue” | $7,699 | $7,699 |
|  | MOTOR: 60 HP, 1750 RPM, 3PH/60Hz/230/460V, TEFC, Prem Eff, FM, 364T, 1.15 SF, F Insul., 40C Amb. | Included |  |
|  | Drain with Plug & Inspection Door | Included |  |
|  | Shaft Seal | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Optional Accessories |  |  |
|  | Discharge Damper - Opposed Blade | $877 | $877 |

Approximate shipping weight (for complete fan as described above) is 2402 pounds (each).

Item #2 – V-Belt Drive

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 25000 | 10 in.wg | 70 °F | 0 ft | 0.075 lb/ft³ | 1496 | 53.9 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | Cincinnati Fan HDBI-360, Class III, 100% Width, Arrangement 9 Motor is mounted on the side of the bearing pedestal | $11,222 | $11,222 |
|  | MOTOR: 60 HP, 1750 RPM, 3PH/60Hz/230/460V, TEFC, Prem Eff, FM, 364T, 1.15 SF, F Insul., 40C Amb. Motor & Drive mounting included. | Included |  |
|  | Drain with Plug & Inspection Door | Included |  |
|  | Shaft/Bearing Guard & Belt Guard | Included |  |
|  | Shaft Seal | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Fixed Drives,1.3 Service Factor | Included |  |
|  | Optional Accessories |  |  |
|  | Discharge Damper - Opposed Blade | $902 | $902 |

Approximate shipping weight (for complete fan as described above) is 3064 pounds (each).

Allow 22 working days to ship after receipt of order, or release to manufacturing.

Net 30 Days.  FOB Factory.  Freight not included.  Please issue PO to Cincinnati Fan c/o Todd Air Solutions.  All Cincinnati Fan & Ventilator Company terms and conditions of sale will apply.  When ordering, refer to the Quotation # at the top of this proposal.

Sincerely,

Thomas G. Todd

Todd Air Solutions