| Avani Environmental | Phone: (919) 570-2862 |
| --- | --- |
| Attention: Mr. Fred Johnson | Quote valid thru 3/16/11 for shipment by 5/15/11. |

We are pleased to offer our proposal for Cincinnati Fan products:

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 12000 | 10 in.wg | 70 °F | 0 ft | 0.075 lb/ft³ | 1750 | 26.6 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | Cincinnati Fan HDBI-270, Class III, 100% Width, Arr. 4HM | $4,088 | $4,088 |
|  | MOTOR: 30 HP, 1750 RPM, 3PH/60Hz/230/460V, TEFC, Prem Eff, FM, 286T, 1.15 SF, F Insul., 40C Amb., | Included |  |
|  | Shaft Seal | Included |  |
|  | Quick Open Inspection Door | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Optional Accessories |  |  |
|  | Discharge Weather Hood with Bird Screen | $462 | $462 |
|  | Discharge Damper-Opposed Blade | $660 | $660 |

Approximate shipping weight (for complete fan as described above) is 1209 pounds (each).

Allow 16 working days to ship after receipt of order, or release to manufacturing.

Net 30 Days.  FOB Factory.  Freight not included.  Please issue PO to Cincinnati Fan c/o Todd Air Solutions.  All Cincinnati Fan & Ventilator Company terms and conditions of sale will apply.  When ordering, refer to the Quotation # at the top of this proposal.

Sincerely,

Thomas G. Todd

Todd Air Solutions