## layout
[5 empty] | scale |  |  |  | 943 | 2887.6167 | [8 empty] | drop 1 | 393.3333 | 5
total cfm | 1180 |  |  | measure_a | 1.818 | 1.316 | measure_b |  | 1.069 | 0.3491 |  |  |  | 1156 | 1156.0002 |  |  |  | drop 2 | 786.6667 | 7
drops | 3 |  |  | inches_a | 40 | 28.9549 | inches_b |  | 1008.067 |  | 5500 | 36 | 152.7778 | [5 empty] | drop 3 | 1180 | 9 |  |  |  |  | 10 | 0.54542 | 2454.3693 |  |  |  |  | 1050
desired FPM (min) | 2500 |  |  |  | 22.0022 | [9 empty] | 38.3649 |  |  |  | drop 4 | 1573.3333 | 8 |  |  |  |  | 6 | 0.19635 | 883.5729 |  |  |  |  | 1050
desired FPM (max) | 3000 | [17 empty] | drop 5 | 1966.6667 | 10 | [6 empty] | 3337.9422 | 0.74176 | 11.6619 |  |  | 1050
[6 empty] | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  | drop 6 | 2360 | 20 | [6 empty] | 4250 | 0.7854 | 12 |  |  | 590
drop 1 | 393.3333 |  |  |  | drop 2 | 786.6667 |  |  | drop 3 | 1180 |  |  |  | drop 4 | 1573.3333 |  |  |  | drop 7 | 2753.3333 | 22 | [11 empty] | 590
desired fpm | 2500 | 3000 | 2884.6515 |  | desired fpm | 2500 | 3000 | 2943.522 | desired fpm | 2500 | 3000 | 2670.9736 |  | desired fpm | 2500 | 3000 | 4507.268 |  | drop 8 | 3146.6667 | 24 |  |  |  |  | 6 | 0.19635 | 883.5729 |  |  |  |  | 4330
| 0.15733 | 0.13111 | 0.13635 |  |  | 0.31467 | 0.26222 | 0.26725 |  | 0.472 | 0.39333 | 0.44179 |  |  | 0.62933 | 0.52444 | 0.34907 |  | drop 9 | 3540 | 24 | [6 empty] | 4221.5151 | 0.93811 | 13.1149
| 5.3709 | 4.9029 | 5 |  |  | 7.5956 | 6.9338 | 7 |  | 9.3027 | 8.4921 | 9 |  |  | 10.7418 | 9.8059 | 8 |  | drop 10 | 3933.3333 | 24 | [6 empty] | 4579.8817 | 0.92175 | 13
[19 empty] | drop 11 | 4326.6667 | 28 | [11 empty] | 1139.3939 | 0.3798 | 8.3447
drop 5 | 1966.6667 |  |  |  | drop 6 | 2360 |  |  | drop 7 | 2753.3333 |  |  |  | drop 8 | 3146.6667 |  |  |  | drop 12 | 4720 | 30 | [6 empty] | 1767.1459 | 0.3927 | 8.4853 |  |  | 890.1515 | 0.29672 | 7.3758
desired fpm | 2500 | 3000 | 3605.8144 |  | desired fpm | 2500 | 3000 | 1081.7443 | desired fpm | 2500 | 3000 | 1043.0042 |  | desired fpm | 2500 | 3000 | 1001.6151 |  | drop 13 | 5113.3333 | 22 | [6 empty] | 5062.5 | 0.34907 | 8
| 0.78667 | 0.65556 | 0.54542 |  |  | 0.944 | 0.78667 | 2.1817 |  | 1.1013 | 0.91778 | 2.6398 |  |  | 1.2587 | 1.0489 | 3.1416 |  | drop 14 | 5506.6667 | 24
| 12.0097 | 10.9633 | 10 |  |  | 13.156 | 12.0097 | 20 |  | 14.2101 | 12.9719 | 22 |  |  | 15.1912 | 13.8676 | 24 |  | drop 15 | 5900 | 24 |  |  |  |  | 8 | 0.34907 | 1047.1976 | 24.24% | 569.697 | 0.1899 | 5.9006 | 6 | 0.19635 | 2901.4428
[19 empty] | drop 16 | 6293.3333 | 24 |  |  |  |  | 8 | 0.34907 | 1047.1976 | 24.24% | 569.697 | 0.1899 | 5.9006 | 6 | 0.19635 | 2901.4428 | 1459.8485 | 0.48662 | 9.4456 | 10 | 0.54542 | 2676.581
drop 9 | 3540 |  |  |  | drop 10 | 3933.3333 |  |  | drop 11 | 4326.6667 |  |  |  | drop 12 | 4720 |  |  |  | drop 17 | 6686.6667 | 24 |  |  |  |  | 6 | 0.19635 | 589.0486 | 13.64% | 320.4545 | 0.10682 | 4.4255 | 5 | 0.13635 | 2350.1687
desired fpm | 2500 | 3000 | 1126.817 |  | desired fpm | 2500 | 3000 | 1252.0189 | desired fpm | 2500 | 3000 | 1011.8357 |  | desired fpm | 2500 | 3000 | 961.5505 |  | drop 18 | 7080 | 26 |  |  |  |  | 6 | 0.19635 | 589.0486 | 13.64% | 320.4545 | 0.10682 | 4.4255 | 5 | 0.13635 | 2350.1687
| 1.416 | 1.18 | 3.1416 |  |  | 1.5733 | 1.3111 | 3.1416 |  | 1.7307 | 1.4422 | 4.2761 |  |  | 1.888 | 1.5733 | 4.9087 |  | drop 19 | 7473.3333 | 26 |  |  |  |  | 8 | 0.34907 | 1047.1976 | 24.24% | 569.697 | 0.1899 | 5.9006 | 6 | 0.19635 | 2901.4428
| 16.1127 | 14.7088 | 24 |  |  | 16.9843 | 15.5044 | 24 |  | 17.8132 | 16.2612 | 28 |  |  | 18.6053 | 16.9843 | 30 |  | drop 20 | 7866.6667 | 26 | [6 empty] | 4319.6899
[19 empty] | drop 21 | 8260 | 28
drop 13 | 5113.3333 |  |  |  | drop 14 | 5900 |  |  | drop 15 | 5900 |  |  |  | drop 16 | 6293.3333 |  |  |  | drop 22 | 8653.3333 | 28
desired fpm | 2500 | 3000 | 1937.0077 |  | desired fpm | 2500 | 3000 | 1878.0283 | desired fpm | 2500 | 3000 | 1878.0283 |  | desired fpm | 2500 | 3000 | 2003.2302 |  | drop 23 | 9046.6667 | 28
| 2.0453 | 1.7044 | 2.6398 |  |  | 2.36 | 1.9667 | 3.1416 |  | 2.36 | 1.9667 | 3.1416 |  |  | 2.5173 | 2.0978 | 3.1416 |  | drop 24 | 9440 | 30
| 19.365 | 17.6778 | 22 |  |  | 20.8014 | 18.989 | 24 |  | 20.8014 | 18.989 | 24 |  |  | 21.4836 | 19.6117 | 24 |  | drop 25 | 9833.3333 | 0 | [8 empty] | 2350 | 0.78333 | 11.9842 | 12 | 0.7854 | 2992.1129
[19 empty] | drop 26 | 10226.6667 | 0 | cfm | fpm | area | length | width
drop 17 | 6686.6667 |  |  |  | drop 18 | 7080 |  |  | drop 19 | 7473.3333 |  |  |  | drop 20 | 7866.6667 |  |  |  | drop 27 | 10620 | 7887.719 | 4000 | 2500 | 1.6 | 3 | 6.4
desired fpm | 2500 | 3000 | 2128.4321 |  | desired fpm | 2500 | 3000 | 1920.2562 | desired fpm | 2500 | 3000 | 2026.9371 |  | desired fpm | 2500 | 3000 | 2133.618 | 1247.6866 | drop 28 | 11013.3333 | 1.3963 | 4000 | 2666.6667 | 1.5 | 3 | 6
| 2.6747 | 2.2289 | 3.1416 |  |  | 2.832 | 2.36 | 3.687 |  | 2.9893 | 2.4911 | 3.687 |  |  | 3.1467 | 2.6222 | 3.687 | 6.305 | drop 29 | 11406.6667
| 22.1448 | 20.2153 | 24 |  |  | 22.7868 | 20.8014 | 26 |  | 23.4112 | 21.3714 | 26 |  |  | 24.0194 | 21.9266 | 26 | 34 | drop 30 | 11800
drop 21 | 8260 |  |  |  | drop 22 | 8653.3333 |  |  | drop 23 | 9046.6667 |  |  |  | drop 24 | 9440
desired fpm | 2500 | 3000 | 1931.6863 |  | desired fpm | 2500 | 3000 | 2023.6713 | desired fpm | 2500 | 3000 | 2115.6564 |  | desired fpm | 2500 | 3000 | 1923.101
| 3.304 | 2.7533 | 4.2761 |  |  | 3.4613 | 2.8844 | 4.2761 |  | 3.6187 | 3.0156 | 4.2761 |  |  | 3.776 | 3.1467 | 4.9087 |  |  |  | 2133.3333 | 8.399
| 24.6125 | 22.4681 | 28 |  |  | 25.1917 | 22.9968 | 28 |  | 25.7579 | 23.5136 | 28 |  |  | 26.3119 | 24.0194 | 30 |  |  |  | 3200 | 12.5984
drop 25 | 9833.3333 |  |  |  | drop 26 | 10226.6667 |  |  | drop 27 | 10620 |  |  |  | drop 28 | 11013.3333
desired fpm | 2500 | 3000 | 2003.2302 |  | desired fpm | 2500 | 3000 | 7324.3105 | desired fpm | 2500 | 3000 | 7606.0147 |  | desired fpm | 2500 | 3000 | 7887.719
| 3.9333 | 3.2778 | 4.9087 |  |  | 4.0907 | 3.4089 | 1.3963 |  | 4.248 | 3.54 | 1.3963 |  |  | 4.4053 | 3.6711 | 1.3963
| 26.8545 | 24.5147 | 30 |  |  | 27.3863 | 25.0002 | 16 |  | 27.908 | 25.4764 | 16 |  |  | 28.4201 | 25.9439 | 16
drop 29 | 11406.6667 |  |  |  | drop 30 | 11800
desired fpm | 2500 | 3000 | 2042.3558 |  | desired fpm | 2500 | 3000 | 2112.7819
| 4.5627 | 3.8022 | 5.5851 |  |  | 4.72 | 3.9333 | 5.5851
| 28.9232 | 26.4031 | 32 |  |  | 29.4176 | 26.8545 | 32

## K&B branch size
A | B | C | D | E
12 | 8 | 8 | 22 | 8.5

## Air Change Calculator
eliminated shipping
Length | 51.5 | ft | V | Length | 51.5 | ft | V | 43 | 19
Width | 100 | ft |  | Width | 100 | ft |  | 40 | 24
Height | 30 | ft |  | Height | 30 | ft |  | 33 | 13
ACH | 8 |  | n | ACH | 8 |  | n | 36 | 21
Volume | 20600 | CFM | Q | Volume | 20600 | CFM | Q | 35 | 11
[8 empty] | 41 | 12
Length | 253.5 | ft | V | Length | 300 | ft | V | 38 | 16.6667
Width | 290.3 | ft |  | Width | 290.3 | ft
Height | 30 | ft |  | Height | 30 | ft
ACH | 8 |  | n | ACH | 8 |  | n
Volume | 294364.2 | CFM | Q | Volume | 348360 | CFM | Q
| CFM | ACH |  |  | CFM | ACH
| 273764.2 | 8 |  |  | 327760 | 8
𝑛=(60∗𝑄" " )/𝑉

## Sheet1
File | Saved Path
M001 | G:\CAD-FILES\2013\CH-1513\1512-001 LATTC BUILDING D\XREF\M001.tiff
X0006_P2_BOR-MP | G:\CAD-FILES\2013\CH-1513\1512-001 LATTC BUILDING D\XREF\X0006_P2_BOR-MP.dwg
X0006_BLDG F_FL01 | G:\CAD-FILES\2013\CH-1513\1512-001 LATTC BUILDING D\XREF\X0006_BLDG F_FL01.dwg
X0006_BLDG F_MEZZ | G:\CAD-FILES\2013\CH-1513\1512-001 LATTC BUILDING D\XREF\X0006_BLDG F_MEZZ.dwg
Pages from M701_2 | G:\CAD-FILES\2013\CH-1513\1512-001 LATTC BUILDING D\XREF\Pages from M701_2.tiff
Pages from M701_3 | G:\CAD-FILES\2013\CH-1513\1512-001 LATTC BUILDING D\XREF\Pages from M701_3.tiff